## 1200
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1200 | GENERAL REQUIREMENTS AND PROVISIONS
B12.02 | Payment of PSC members
LI | a) Provisional sum for the payment of
| PSC members at R180/month | Prov. Sum |  |  | 10800
b) Handling costs and profit in respect of
| sub-item B12.02(a) | % | 10800
B12.03 | Relocation and protection of existing services:
a) Relocation, including lowering or raising,
protection and/or repair of existing services
which are not allowed for under any other
| items in the schedule of quantities. | Prov. Sum |  |  | 1500000
b) Handling cost and profit in respect of
| sub-item B12.03(a) | % | 1500000
B12.04 | Provision for a Community Liaison Officer
LI | (a) Provisional sum for the payment of the
| Community Liaison Officer @ R 4050.00 p/m | Prov. Sum |  |  | 40500
(b) Handling costs and profit in respect of
| sub-item B12.01(a) | % | 40500
B12.05 | Contractor's time related obligations in respect
of the Occupational Health and Safety Act
and Construction Regulations
| (a) Mine Health and Safety Obiligations | month | 8
| (b) Special Information Signs | PC Sum |  |  | 5000
| (c.)Provision for security guards | PC Sum |  |  | 30000
B12.06 | Submission of the Health and Safety File | Lump Sum |  |  |  | `
1200 | TOTAL CARRIED TO SUMMARY
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
AMOUNT BROUGHT FORWARD
B12.07 | Provision of Environmetal Management
| a) Allow a Povisional sum for Basic assessment Report, EMPR for the Borrow-pits, | Prov. Sum |  | 20000 | Rate Only
b) Handling cost and profit in respect of
| sub-item B12.03(a) | % |  |  | Rate Only
B12.08 | Provision of Geotechnical Services
| a) Allow a Povisional sum for Geotechnical Services, | Prov. Sum |  |  | Rate Only
b) Handling cost and profit in respect of
| sub-item B12.03(a) | % |  |  | Rate Only
12.1 | Contract Nameboard (As per drawing) | No | 3
1200 | TOTAL CARRIED TO SUMMARY

## 1300
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1300 | CONTRACTORS ESTABLISHMENT ON SITE
AND GENERAL OBLIGATIONS
B13.01 | The contractors general obligations :
| (a) Fixed obligations | Lump sum
| (b) Value-related obligations | Lump sum
| (c) Time-related obligations | Month | 8
The combined total tendered for sub-items (a),
(b) and (c) shall not exceed 15% of the tender
sum.
1300 | TOTAL CARRIED TO SUMMARY

## 1400
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
HOUSING, OFFICES AND LABORATORIES FOR
THE ENGINEER'S SITE PERSONNEL
14.01 | Office and laboratory accommodation:
The provision of accommodation as specified,
including roof, external and internal walls,
windows complete with glazing, doors with
locks and fittings burglar proofing, painting,
floors, fencing, the provision of a 220/250 volt
electrical installation with wiring, switchboards,
etc, water and sewerage installation, and
stores, complete, in accordance with the
drawings and specifications, except for items
scheduled elsewhere :
| (a) Offices (interior floor space only) | m² | 35
| (b) Laboratories (interior floor space only) | m² | 15
| (c) Open concrete working floors, 150mm thick | m² | 10
| (d) Roofs over open concrete working floors | m² | 10
| (e) Ablution units | No. | 6
14.02 | Office and laboratory furniture:
| (a) Chairs | No. | 25
| (d) Desks, complete with drawers and locks | No. | 4
| (f) Conference tables | No. | 2
B14.02 | Office and laboratory fittings, installations
and equipment:
(a) Items measured by number :
| (i) 220/250 volt power points | No. | 2
(iii) Double 80 watt fluorescent-light
| fittings complete with ballast and tubes | No. | 2
(vi) Wash-hand basins complete with
| taps and drains | No. | 1
(vii) Laboratory basins complete with swan-
| neck taps and drains | No. | 1
(x) Fire extinguishers, 9,0kg, all purpose dry
powder type, complete, mounted on wall
| with brackets | No. | 1
1400 | TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
AMOUNT BROUGHT FORWARD
(xi) Air-conditioning units with, 2,2kW
minimum capacity, mounted and with
| own power connection | No. | 1
(xii) Heater, space heating type, minimum
| capacity 1,5 Kw | No. | 1
(xiii) Curing chambers for UCS specimens,
complete with water connection, inclu-
ding the provision of brick partitions,
| plaster, paint and shelving. | No. | 1
(xiv) General - purpose steel cupboards
| with shelves | No. | 1
| (xvi) Refrigerators | No. | 1
| (xviii) Voltage stabilizers | No. | 1
| (xix) Automatic level with tripot | No. | 1
| (xx) 100m "stylon" steel tape | No. | 1
(xxi) 5m leveling staff (1cm gradutions with
| bubble) | No. | 1
(xxii) 800 Mhz Pentium IV computer with
min. 40 GB harddrive, cd & dvd-rom,
keyboard, mouse, colour monitor etc.
| and HP Deskjet 840C colour printer | No. | 1
14.04 | Car ports
| Car ports, 3.0m wide and 2,5m high, at offices | No. | 3
B14.06 | (b) Prime-cost items and items paid for in a
lump sum:
(ix) Provision of cellular telephones:
| (1) Provision of cellular telephones | Prov. sum |  |  | 15000
| (2) Cost of calls and other charges | Prov. sum |  |  | 8000
(3) Handling cost and profit in respect of
| subsubitem B14.03(b)(ix)(1, 2) above | % | 23000
(c) Items measured by area:
(viii) Notice boards as per dwg. No.
|  | m² | 5
| (ix) White board | m² | 1
1400 | TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
AMOUNT BROUGHT FORWARD
B14.07 | Rented, hotel and other accommodation
(a) Provisional sum for providing rented housing,
hotel or other accommodation as described
| in subsubclause 14.03 (c)(ii) including services | Prov.Sum |  |  | 40000
(b) Handling costs and profit in respect of
| subitem 14.07 (a) | % | 40000
14.08 | Services:
(a) Services at offices:
| (i) Fixed costs | Lump Sum
| (ii) Running costs | Month | 8
14.10 | Provision of photostat facilities | Month | 8
1400 | TOTAL CARRIED TO SUMMARY

## 1500
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1500 | ACCOMMODATION OF TRAFFIC
B15.01 | Accommodating traffic and maintaining temporary deviations including all flagmen required | km | 6.5
B15.03 | Temporary traffic-control facilities: (Note: These items are under the control of the engineer and will only be use and paid as instructed by the engineer at section NOT part of the 0.2 Km above which are paid under item B15.01)
| (a) Flagmen | man-days | 1584
| (b) Portable STOP and GO-RY signs | No. | 9
| (e) Road signs, R- and TR-series, 1200 mm dia | No. | 8
| (f) Road signs, TW-series, 1524 mm sides | No. | 8
| (g) Road signs, STW, DTG, TGS and TG-series | No. | 8
(h) Delineators (TW401 & TW402)
(i) Single
| (1) 800mm x 250mm | No. | 28
| (ii) Double, mounted back to back | No. | 15
| (m) Two-way communication devices | No. |  |  | Rate Only
| (n) Provision of high visibility safety jackets | No. | 12
B15.14 | The provision and maintenance of rotating
lights, etc. for the use of the Engineer and
his staff
| (a) Rotating lights | No. | 2
B15.17 | Penalty to be conducted for non-compliance
with requirements for accomodation of traffic
| (a) Fixed penalty for occurrence | No. |  |  | Rate Only
| (b) Time related penalty | hr |  |  | Rate Only
1500 | TOTAL CARRIED TO SUMMARY

## 1700
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1700 | CLEARING AND GRUBBING
B17.01 | Clearing and grubbing
(a) Normal areas
| i) Within the road reserve | ha | 6.6
| ii) In borrow pits | ha | 6
17.04 | Clearing and grubbing at inlets and outlets of hydraulic structures | m² | 150
17.05 | Cleaning out of hydraulic structures
(a) Pipes with an internal diameter up to and
| including 750 mm | m³ | 120
(b) Pipes with an internal diameter exceeding
| 750 mm. | m³ |  |  | Rate Only
(c) Box culverts up to and including 1.5 m
| vertical dimension. | m³ |  |  | Rate Only
(d) Box culverts exceeding 1.5 m vertical
| dimension. | m³ |  |  | Rate Only
B17.07 | Extra over item 17.01 for the removal and stockpiling existing paving blocks for re-use (including a freehaul distance of 1km) | m² | 315
B17.08 | Extra over item B 17.01 for the removal to spoil of (including a freehaul distance of 1km):
| (b) Paving blocks | m² | 315
B 17.09 | Removal and disposal of concrete kerbing or kerbing channel combination (including a freehaul distance of 1 km) | m | 25
1700 | TOTAL CARRIED TO SUMMARY

## 1800
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1800 | DAYWORKS SCHEDULE
B18.01 | Labourers:
| (i) Unskilled labour | h |  |  | Rate Only
| (ii) Semi-skilled labour | h |  |  | Rate Only
| (iii) Skilled labour | h |  |  | Rate Only
B18.02 | Foreman | h |  |  | Rate Only
B18.03 | Tipper trucks:
| (i) 3 - 5 ton | h |  |  | Rate Only
| (ii) 5,1 - 10 ton | h |  |  | Rate Only
B18.04 | Loader (0,5m³) | h |  |  | Rate Only
B18.05 | Grader ( CAT 140G or similar) | h |  |  | Rate Only
B18.06 | LDV | h |  |  | Rate Only
B18.07 | Compaction Rollers:
| (i) Vibrator roller | h |  |  | Rate Only
| (ii) Tamping roller | h |  |  | Rate Only
| (iii) Grid roller | h |  |  | Rate Only
B18.08 | Hand Controlled Compactors:
| (i) Pedestrian roller (Bomag BW90) | h |  |  | Rate Only
| (ii) Vibratory plate | h |  |  | Rate Only
| (iii) Rammers | h |  |  | Rate Only
B18.09 | Water truck ( min. 1000 l) | h |  |  | Rate Only
B18.10 | Dozer ( D7 or similar) | h |  |  | Rate Only
1800 | TOTAL CARRIED TO SUMMARY

## 2100
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
2100 | 2100 DRAINS
21.01 | Excavating for open drain
(a) Excavating soft material situated within the
following depth ranges below the surface
level:
| (i) 0m up to 1,5m | m³ | 4600
| (ii) Exceeding 1,5m up to 3,0m | m³ | 60
(b) Extra over subitem 21.01(a) for excavation in
| hard material irrespective of depth | m³ | 1210
21.03 | Excavation for subsoil drainage systems
(a) Excavating soft material situated within the following depth ranges below surface level:
| (i) 0 m up to 1,5m | m³ | 180
| (b) Extra over subitem 21.03(a) for excavation in hard material irrespective of depth | m³ | 27
21.04 | Impermeable backfilling to subsoil drainage systems | m³ | 162
21.05 | Banks and Dykes
| (b) Contruction of Earth Embankments and compacted to 93% Mod AASHTO as indicated in the drawings | m³ | 160
21.06 | Natural permeable material in subsoil drainage systems (crushed stone)
(b) Crushed stone obtained from commercial sources
| (ii) Coarse grade stone | m³ | 36
21.07 | Natural permeable material in subsoil drainage systems (Sand)
| (b) Sand from commercial sources | m³ | 18
21.08 | (b) Unplasticised PVC pipes and fittings, normal duty complete with couplings
(1) Perforated
| (i) 150mm dia. | m | 500
21.1 | Synthetic fibre filter fabric
| (i) "Kaymat U24 or approved equivalent | m² | 1150
21.12 | Concrete outlet structures, manhole boxes, junction boxes and cleaning eyes for subsoil drainage systems:
| (a) Outlet structures | No | 6
B21.15 | Overhaul for material hauled in excess of 1km freehaul(Normal overhaul) | m3km | 6150
2100 | TOTAL CARRIED TO SUMMARY

## 2200
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
22 | 2200: PREFABRICATED CULVERTS
B22.01 | Excavation:
(a) Excavating soft material situated within the
following depth ranges below the surface
level:
| (i) 0m up to 1,5m | m³ | 8018.75
| (ii) Exceeding 1,5m up to 3,0m | m³ | 2004.6875
(b) Extra over subitem 22.01(a) for excavation in
| hard material irrespective of depth | m³ | 2004.6875
22.02 | Backfilling:
| (a) Using the excavated material | m³ | 8018.75
| (b) Using imported selected material | m³ |  |  | Rate Only
(c) Extra over subitems 22.02(a) and 22.02(b) for
| soil cement backfilling (3% cement) | m³ |  |  | Rate Only
22/B3300 | Foundation fill consisting of :
| (a) Rock fill | m³ |  |  | Rate Only
| (b) Crushed-stone fill | m³ |  |  | Rate Only
22.03 | Conrete pipe culverts:
(b) On class B bedding
| (i) 450mm (Class 75d) | m |  |  | Rate Only
| (i) 600mm (Class 75d) | m | 2500
| (i) 750mm (Class 75d) | m | 120
| (i) 1000mm (Class 75d) | m | 1000
22.04 | Portal and retangular culverts:
(b) On class B bedding
| (i) 2100mm (W) x 900mm (H) (Class 75S) | m |  |  | Rate Only
22.07 | Cast in situ concrete and formwork:
| (b) In floor slabs for portal or rectangular culverts, including formwork and class U2 surface finish, class 25/19 concrete | m³ | 65
2200 | TOTAL CARRIED TO SUMMARY
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
AMOUNT BROUGHT FORWARD
(c) In inlet and outlet structures, skewed ends,
catchpits,manholes, thrust and anchor
blocks, excluding formwork but including
Class U2 surface finish:
| (i) Class 25/19 concrete | m³ | 35
(d) Formwork of concrete under subitem
22.07(c)
| (i) Vertical formwork for F1 surface finish | m² | 75
| (ii) Vertical formwork for F2 surface finish | m² | 40
22.1 | Steel reinforcement:
| (b) High tensile steel bars | t | 5
| (c) Welded steel frabric REF 395 | kg | 210
B22.13 | Removing existing pipes
| (600mm or less) | m | 2520
22.17 | Manholes, catchpits, precast inlet and outlet structures complete: [Dwg No.]
(a) Manholes:
| (i) Type A | No | 3
| (iii) Type C (Junction Box) | No | 10
(b) Catchpits
| (i) Kerb inlet Type 1 (Terminal Kerb Inlet) | No | 4
| (ii) Kerb inlet Type 2 (Combination Kerb Inlet/Manhole) | No | 36
22.23 | Service ducts:
(a) Ordinary pipes
| (i) 110mm Upvc Class 6 | m | 110
(b) Split pipes:
| (i) 150mm Upvc Class 6 | m | 100
22.12 | Removing existing concrete:
LI
| (a) Plain concrete | m³ | 40
| (b) Reinforced concrete | m³ | 10
2200 | TOTAL CARRIED FORWARD

## 2300
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
23 | 2300: CONCRETE KERBING, CONCRETE CHANNELLING, CHUTES AND DOWNPIPES, AND CONCRETE LININGS FOR OPEN DRAINS
23.01 | Concrete Kerbing Class 30/19
| (a) Figure 8c as shown on the drawings | m | 10400
| (b) Figure 3 as shown on the drawings | m | 1080
| (c) Figure 7 as shown on the drawings | m | 1040
23.04 | Cast in situ concrete chutes (measured by components)
| (a) Concrete class 30/19 | m³ | 60
| (b) Formwork to provide class F1 surface finish | m² | 300
23.06 | Inlet, outlet, transition and similar structures:
(including in-situ concrete chutes)
(a) Cast in situ concrete lining for Chute inlets
| Type "E": (Class 20/19 concrete): | m3 | 20
(b) Formwork (Class F1 surface finish) for
Type "E" chutes & inlets :
(i) To side with formwork on both internal
| and external faces (each face measured) | m2 | 15
(c) Class U2 surface finish to
| cast in situ concrete: | m2 | 25
23.07 | Trimming of excavations for concrete-lined open drains
| (a) In soft material | m² | 300
| (b) In hard material | m2 | 5
B23.16 | Cast insitu concrete and formwork:
| (a) Concrete edge beam (25/19) MPa | m³ | 39
23.08 | Concrete lining for open drains
(a) Cast in situ concrete lining (25/19)
| (i) 500 mm x 500 mm x 125 mm | m3 | 65
23.09 | Formwork to cast in situ concrete lining for open drains (class F2 surface finish)
| (c) To ends of slabs | m2 | 20
23.1 | Sealed joints in concrete linings of open drains
| (a) 10mm: "flexcell" joint | m | 20
2300 | TOTAL CARRIED FORWARD

## 3100
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
3100 | 3100: BORROW MATERIALS
B31.01 | Excess overburden:
| (a) Depth up to and including 0,5m | m³ | 20000
| (b) Depth exceeding 0,5m and up to 1,5m | m³ |  |  | Rate Only
31.03 | Finishing-off borrow areas in:
| (a) Hard material | ha |  |  | Rate Only
| (c) Soft material | ha |  |  | Rate Only
Fencing
31/B55.10 | Borrow-pit game proof fencing
| (a) Provisional sum for the erecting of 1.8m height, with provision of gate fencing around borrow pit. | Prov Sum | - |  | Rate Only
| (b) Handling costs and profit in respect of subitem 31/B55.10(a) | % |  |  | Rate Only
3100

## 3300
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
3300 | 3300: MASS EARTHWORKS
B33,01 | Cut and borrow to fill, including free-haul
up to 1,0km from road reserve
(a) Material in compacted layer thichness of 200mm and less
| (i) Compacted to 90% modified AASHTO density | m³ | 6240
| (b) Rock Fill (as specified in subclause 3209 (c ) | m³ |  |  | Rate Only
33.03 | Extra over item 33.01 for excavating and breaking down material in -
| (a) Intermediate excavation | m³ | 6240
| (b) Hard excavation | m³ | 1248
33.04 | Cut to spoil, including free-haul up to 1.0km, material obtained from:
| (a) Soft excavation | m³ | 100
| (b) Intermediate excavation | m³ | 16711
| (c) Hard excavation | m³ | 835.55
| (d) Boulder Excavation class B | m³ | 1671.1
33.07 | Removal of unsuitable material, including 1.0km free-hual
(a) In layer thickness of 200mm and less:
| (ii) Unstable material | m³ | 3120
33.10 | Roadbed preparation and the compaction of material
| (a) Compaction to 90% of modified AASHTO density | m³ | 7800
33.11 | Three roller passes
| (a) Vibratory roller | m² |  |  | Rate Only
| (b) Heavy grid roller | m² |  |  | Rate Only
33/16.00 | 1600: OVERHAUL
33/16.02 | Overhaul on material hauled in excess of 1,0 km (ordinary overhaul) | m³.km | 77270.6
3300

## 3400
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
3400 | 3400: PAVEMENT LAYERS OF GRAVEL MATERIAL
34.01 | Pavement layers constructed from gravel taken from cut or borrow, including free-haul up to 1,0 km:
(a) Gravel selected layer compacted to:
| (i) 150mm layer thickness to 93% modified AASHTO density - G5 material | m³ | 3120
(c) Gravel subbase(unstabilised gravel compacted to):
| (i) 150mm layer thickness to 93% modified AASHTO density - G5 material | m³ | 4836
(f) Gravel base (chemically stabilized material) compacted to :
| (i) 150mm layer thickness to 97% of modified AASHTO density | m³ | 4758
(g) Gravel shoulder compacted to:
| (ii) 95% of modified AASHTO density ( 150 mm compacted layer thickness) | m³ |  |  | Rate Only
34.14 | Pavement layers constructed from gravel obtained from commercial sources or sources provided by the contractor, including unlimited free haul:
(a) Gravel selected layer compacted to:
| (i) 95% of modified AASHTO density (150mm compacted layer thickness) | m³ |  |  | Rate Only
(b) Gravel subbase (unstabilised material) compacted to:
| (i) 97% of modified AASHTO density (150mm compacted layer thickness - G4 gravel) | m³ | 113
(c) Gravel base (chemically stabilized material) compacted to :
| (i) 150mm layer thickness to 98% of modified AASHTO density | m³ | 113
34/16.02 | Overhaul on material hauled in excess of 1.0 km(ordinary overhaul) | m³.km | 155280
3400 | TOTAL CARRIED TO SUMMARY

## 3500
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
3500 | 3500: STABILIZATION
35.01 | Chemical stabilisation extra-over unstabilized compacted layers:
| (a) Base layer : 150mm thickness | m³ | 4871
B35.02 | Chemical stabilising agent:
| (a) CEM II A/L 32.5 cement | t | 525.0938
35.04 | Provision and application of water for curing | kl | 2841.4167
35.05 | Curing by covering with subsequent layer | m2 |  |  | Rate Only
3400 | TOTAL CARRIED TO SUMMARY

## 4100
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
4100 | 4100: PRIME COAT
B41.01 | Prime coat:
| (b) Quick drying MC30 Cutback Bitumen or similar | litre | 5098.5
approved product
41.03 | Extra over item 41.01 for applying the prime
coat in areas accessible only to hand held
| equipment | litre |  |  | Rate Only
4100 | TOTAL CARRIED TO SUMMARY

## 4200
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
42.02 | Asphalt surfacing
(a) Continously graded hot-mix asphalt using:
| (i) 60/70 pen, 30 mm thick medium grade | m² | 7740
42.04 | Tack coat of 30% stable-grade emulsion | litre | 5031
42.08 | 100mm Cores in asphalt paving | No | 7.075
4200 | TOTAL CARRIED TO SUMMARY

## 5100
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
51 | 5100: PITCHING,STONEWORK AND PROTECTION AGAINST EROSION
51 | 5100: PITCHING,STONEWORK AND PROTECTION AGAINST EROSION
51.01. | Stone pitching:
| (b) Grouted stone pitching | m² | 5100
51.04 | Concrete edge beams of:
| (a) Class 25/19 cast in-situ concrete | m³ | 106.25
5100 | TOTAL CARRIED TO SUMMARY

## 5200
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
GABIONS
52.01 | Foundation trench excavation and backfilling:
LI
| (b) In all other classes of material | m³ | 35
52.02 | Surface preperation for bedding the gabions | m² | 35
LI
B52.03 | Gabions:
LI
(a) Galvanized gabion boxes:
Mesh size: 80mm x 100mm
Wire diameter: 2,7mm
Diaphragm spacing: 1,0m
| (i) 2m x 1m x 1m | m³ | 100
(c) Galvanized gabion mattresses:
Mesh size: 80mm x 100mm
Wire diameter: 2,5mm
Diaphragm spacing: 1,0m
| (i) 0,230m deep | m³ | 10
| (ii) 0.300m deep | m³ | 10
52.04 | Filter fabric:
| (a) Grade U24 or approved equivalent | m² | 150
5200 | TOTAL CARRIED TO SUMMARY

## 5600
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
5600 | ROAD SIGNS
B56.01 | Road sign boards with painted or coloured
semi-matt background. Symbols, lettering and
borders in diamond grade retro- reflective
material, where the sign board is
constructed from:
(c) Prepainted galvanized steel plate (chromadek
or approved equivalent):
| (i) Area not exceeding 2m² | m² | 8
(ii) Area exceeding 2m² but not exceeding
| 10m² | m² | 5
| (iii) Area exceeding 10m² | m² |  |  | Rate only
56.02 | Extra over item 56.01 for using:
(a) Background of retro-reflective material:
| (i) Class llI | m² | 5
56.03 | Road sign supports (over-head road sign
structures excluded):
(b) Timber:
| (i) 100mm dia. | m | 20
56.06 | Extra over item 56.05 for cement-treated soil
LI | backfill | m³ | 5
56.07 | Extra over item 56.05 for rock excavation | m³ | 5
5600 | TOTAL CARRIED FORWARD

## 5700
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
5700 | ROAD MARKINGS
57.02 | Retro-reflective road-marking paint:
(a) White lines (broken or unbroken):
| (i) 100mm wide | km | 6
| (ii) 150mm wide | km |  |  | Rate Only
(b) Yellow lines - 100mm width
| (i) 100mm wide | km | 11
| (ii) 150mm wide | km |  |  | Rate Only
| (iii) 200mm wide | km |  |  | Rate Only
| (d) White lettering and symbols | m² | 500
| (e) Yellow lettering and symbols | m² |  |  | Rate only
(f) Transverse lines, painted island and
| arrestor bed markings (any colour) | m² | 100
57.04 | Variations in rate of application:
| (a) White paint | l |  |  | Rate only
| (b) Yellow paint | l |  |  | Rate only
| (d) Retro-reflective beads | kg | 300
B57.06 | Setting out and premarking the lines
(excluding traffic island markings, lettering
| and symbols) | km | 17
5700 | TOTAL CARRIED TO SUMMARY

## 5900
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
5900 | FINISHING THE ROAD AND ROAD RESERVE
AND TREATING OLD ROADS
59.01 | Finishing the road and road reserve:
| (b) Single carriageway road and road reserve | km | 6
5900 | TOTAL CARRIED TO SUMMARY

## 7300
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
73.01 | Concrete block paving:
(a) Concrete pavers, grey colour, 25 MPa,
| with spacer nibs, 20 mm thick on river sand bedding | m² |  |  | Rate Only
(b) Concrete pavers, terracotta colour, 25 MPa,
| with spacer nibs, 20 mm thick | m² |  |  | Rate only
| c) 80mm thick, interlocking concrete pavers,Class 2 herringbone bond, 20 mm thick on river sand bedding | m² | 26301
73/B51,04 | Concrete edge beams of:
| (a) Class 25/19 cast in-situ concrete | m³ | 9.9625
73/B51,06 | Provision of approved herbicide and ant poison:
| (a) Provision of materials | P C Sum |  |  | 200000
| (b) Contractor's charges and profit added to the prime cost sum | % | 200000
B73,14 | Speed Humps
| (a) Construction of Speed Hump with Concrete pavers, grey colour, 25 MPa, with spacer nibs, 50 mm thick on river sand bedding as per Drawings | No | 14
7300 | TOTAL CARRIED TO SUMMARY

## 8100
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
81 | 8100: TESTING MATERIALS AND WORKMANSHIP
81.02 | Other special tests requested by the engineer
| (a) Cost of testing | Prov. Sum |  |  | 155000
| (b) Handling costs and profits in respect of subitems B81.02(a) | % | 155000
.
8100 | TOTAL CARRIED TO SUMMARY

## EMP
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
B | ENVIRONMENTAL MANAGEMENT PLAN
B100.01 | Penalty for unnecessary removal of damage
to trees for the following diameter sizes:
| (a) 2600mm girth or less | No |  | -5000 | Rate Only
(b) Greater than 2600mm, but less than
| 6180mm girth | No |  | -10000 | Rate Only
| (c) Greater than 6180mm girth | No |  | -30000 | Rate Only
B100.02 | Penalty for serious violations
(a) Hazardous chemical/oil spill and/or
| dumping in non-approved sites | No |  | -10000 | Rate Only
| (b) General damage to sensitive environments | No |  | -5000 | Rate Only
| (c) Damage to cultural and historical sites | No |  | -5000 | Rate Only
| (d) Pollution of water sources | No |  | -10000 | Rate Only
| (e) Unauthorised blasting activities | No |  | -5000 | Rate Only
(f) Uncontrolled/unmanaged erosion per
incident, depending on environment impacts,
| plus rehabilitation at contractor's cost | No |  | -1000 | Rate Only
B100.03 | Penalty for less serious violations
| (a) Littering on site | No |  | -1000 | Rate Only
| (b) Lighting of illegal fires on site | No |  | -1000 | Rate Only
| (c) Persistent or un-repaired fuel and oil leaks | No |  | -1000 | Rate Only
(d) Excess dust of excess noise emanating
| from site | No |  | -1000 | Rate Only
(e) Dumping of milled material in side drains
| or on grassed areas | No |  | -1000 | Rate Only
(f) Possession or use of intoxicating
| substances on site | No |  | -500 | Rate Only
(g) Any vehicles being driven in excess of
| designated speed limits | No |  | -500 | Rate Only
B | TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
AMOUNT BROUGHT FORWARD
(h) Removal and/or damage to flora or cultural
or heritage objects on site, and/or killing
| of wild life | No |  | -2000 | Rate Only
| (i) Illegal hunting | No |  | -2000 | Rate Only
(j) Urination and defecation anywhere except
| in designated areas | No |  | -500 | Rate Only
B | TOTAL CARRIED TO SUMMARY

## Sum BOQ
MOGALAKWENA LOCAL MUNICIPALITY
MAHWELERENG ROADS AND STORM-WATER PHASE 1
C2.3 SUMMARY OF SCHEDULE OF QUANTITIES
SCHEDULE A: ROADWORKS
SECTION | DESCRIPTION | AMOUNT
1200 | General Requirements and Provisions
1300 | Establishment and General Obligations
1400 | Housing, Offices & Laboratories
1500 | Accommodation of Traffic
1700 | Clearing and Grubbing
1800 | Dayworks
2100 | Drains
2200 | Prefarbicated Culvert Structure
2300 | Concrete Kerbing, Concrete Channeling, Open Chutes
3100 | Borrow materials
3300 | Mass Earthworks
3400 | Pavement layers of gravel
3500 | Stabilisation
4100 | Prime
4200 | Asphalt Base and Surfacing
5100 | Pitching, Stonework and Protection Against Erosion
5200 | Gabions
5600 | Road Signs
5700 | Road Markings
5900 | Finishing the Road and Road Reserve and treating old roads
7300 | Concrete Block paving for Roads
8100 | Testing Materials and Workmanship
TOTAL SCHEDULE A: (CARRIED TO CALCULATION OF TENDER SUM)

## Train
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
C | PROVSION OF STRUCTURED TRAINING
C12.05 | Provision for accredited training:
| (a) Generic skills | Prov. Sum |  |  | 125000
| (b) Entrepreneurial skills | Prov. Sum |  |  | 125000
| (c) Remuneration of workers undergoing training | Prov. Sum |  |  | 10000
(d) Handing cost and profit in respect of sub-
| items E12.05(a), (b) and (c) above | % | 260000
| (e) Training Venue | Lump sum
C | TOTAL CARRIED TO SUMMARY

## Sum of BOQ (2)
MOGALAKWENA LOCAL MUNICIPALITY
MAHWELERENG ROADS AND STORM-WATER PHASE 1
C2.3 SUMMARY OF SCHEDULE OF QUANTITIES (CONTINUE)
SCHEDULE C: ENVIRONMENTAL MANAGEMENT PLAN
SECTION | DESCRIPTION | AMOUNT
B | Environmental Management Plan
TOTAL SCHEDULE D: (CARRIED TO CALCULATION OF TENDER SUM)
SCHEDULE C: STRUCTURED TRAINING
SECTION | DESCRIPTION | AMOUNT
C | Structured Training
TOTAL SCHEDULE E: (CARRIED TO CALCULATION OF TENDER SUM)
TOTAL SCHEDULE E: (CARRIED TO CALCULATION OF TENDER SUM)

## Tender Sum
MOGALAKWENA LOCAL MUNICIPALITY
MAHWELERENG ROADS AND STORM-WATER PHASE 1
CALCULATION OF TENDER SUM
ITEM | AMOUNT
TOTAL SCHEDULE A: ROADWORKS
TOTAL SCHEDULE B: ENVIRONMENTAL MANAGEMENT PLAN
TOTAL SCHEDULE C: STRUCTURED TRAINING
TENDER ( CONTRACT) SUM
CONTINGENCIES (10%)
SUB-TOTAL
ADD 15% VAT
TENDER (CONTRACT) PRICE CARRIED TO FORM OF OFFER OF ACCEPTANCE (Page C.3)
Note: Tender Sum is the value of the offered total of the prices exclusive of VAT,
Contingencies, CPA and specials materials but including contractual variations.
SIGNED ON BEHALF OF TENDERER: ……………………………………………………………………………
DATE: ……………………………………….